[image: image1.jpg]


Wixey 

DIGITAL CALIPERS with FRACTIONS                 

MODEL WR100
INSTRUCTIONS

Measurements:

[image: image2.jpg]Battery: CR2032
+





Functions:
· ON/OFF- turns the power completely on or off. When turned ON, the calipers set to 0.00. Have jaws in the closed position when turning on to set proper calibration.

· IN/MM- toggles from decimal inches with fractions to millimeter.

· ZERO- sets display to 0.00 at any position

· Auto shut off- turns power off automatically after 30-60 minutes.

[image: image3.jpg]W
4

/)
Vi

T
@

DEPTH




Battery Replacement and Trouble Shooting:

For questions, comments, and more information go to:  www.wixey.com






































































�





�





Problem�
Possible Cause�
Solution�
�
Flashing Digits�
Low Voltage�
Replace Battery�
�
No Display�
Low Voltage�
Replace Battery�
�
No Display�
Bad Contact�
Clean Battery�
�
Erratic or Frozen Display�
Internal Error�
Remove Battery Wait 1 Minute and Replace�
�









�











PAGE  
1

